## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 The High Road
South Shields
NE34 6QB
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-34497
DATE OF REPORT: 10/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34497
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 5 The High Road
South Shields
NE34 6QB
Carried Out On | 10/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34497
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -December 2028 Downstairs Smoke Alarm Location & Date -dec 2028 Heat Alarm Location & Date -august 2030 Co Alarm Location & Date -may 2031 Co Alarm Replaced - No Boiler to be removed -potterton promax combi Boiler Serial number – AWA080910177BC Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -bedroom cupboard Is 22mm gas pipe visible at boiler -yes Flue type –horizontal Any access requirements to access flue -ladders for second floor Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Soak away Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -8 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Bed 1 Room size-3.9 x 3.3 Ceiling height- 2.3 Rad size- 1300 x 600 Max size- 1300 max length Landing Room size-2.2 x 0.9 Ceiling height- 2.3 Rad size- 550 x 700 Max size- same size Bed 2 Room size-4.2 x 1.9 Ceiling height- 2.3 Rad size- 1120 x 600 Max size- 1200 max length Living room Room size-3.5 x 3.8 Ceiling height- 2.3 Rad size-1140 x 700 Max size- 1200 max length Droppers Kitchen. Room size-1.9 x 3.9 Ceiling height- 2.3 Rad size- 1220 x 500 Max size- 1400 x 600 Bathroom Room size-1.7 x 1.6 Ceiling height- 2.3 Rad size- 600 x 700 Max size- same size 600 max length Toilet Room size-1.7 x 0.8 Ceiling height- 2.4 Rad size- 420 x 700 Max size- same size Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes