## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 The High Road
South Shields
NE34 6QB
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-34500
DATE OF REPORT: 03/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34500
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 7 The High Road
South Shields
NE34 6QB
Carried Out On | 03/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34500
SECTION 3: Report
TLO is speaking to home group regularising help for the tenant because she won’t be able to move this ect, this full heating may still not happen, novus to let us know. Upstairs Smoke Alarm Location & Date -unable to see Downstairs Smoke Alarm Location & Date -unable to see Heat Alarm Location & Date -unable to see Co Alarm Location & Date -march 2028 Co Alarm Replaced - No Boiler to be removed -potterton promax combi Boiler Serial number – AWA080820228BC Job Type – Conversion / boiler replacement / full heating - Combi / heat only / system boiler -combi Boiler location -kitchen. Is 22mm gas pipe visible at boiler -yes Flue type –horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no - If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -7 Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Pipework for bathroom will have to be taken out the bottom of of the landing and then taken through the walls to feeed toilet and bathroom downstairs. It has been an extension and has a flat roof. Bedroom 1 Room size-4.2 x 1.9 Ceiling height- 2.4 Rad size- 1120 x 700 Max size- 1200 length Landing Room size-0.9 x 1.7 Ceiling height- 2.4 Rad size- 550 x 700 Max size- 600 max length Bed 2 Room size-3.2 x 4.2 Ceiling height- 2.4 Rad size- 1130 x 600 Max size- 1200 max length Living room Room size-3.4 x 4.3 Ceiling height- 2.4 Rad size- 1550 x 600 Max size- same size Kitchen Room size- 1.9 x 4.2 Ceiling height- 2.4 Rad size- 1250 x 500 Max size- same size Toilet Room size-1 x 1.6 Ceiling height- 2.4 Rad size- 420 x 700 Max size- 600 max length Bathroom 2.6 x 2 Room size- Ceiling height- 2.4? Rad size- 620 x 700 Max size- same size Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes