## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Dunlop Crescent
South Shields
NE34 6QG
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-34525
DATE OF REPORT: 03/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34525
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 10 Dunlop Crescent
South Shields
NE34 6QG
Carried Out On | 03/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34525
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -oct 2029 Downstairs Smoke Alarm Location & Date -unable to see Heat Alarm Location & Date -feb 2030 Co Alarm Location & Date -june 2029 Co Alarm Replaced - No Boiler to be removed -potterton promax combi Boiler Serial number – Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -boiler swap Boiler location -landing cupboard Is 22mm gas pipe visible at boiler -yes Flue type –Horizontal Any access requirements to access flue -second floor Flue guard needed -no Standoff kit required - no Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Soakaway Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -8 Size of pipework at radiators- 15mm Number of bathrooms -1 Electric shower -no Any other means of heating - no Current Cooker Type – Electric Current Fire Type – Electric Bed 1 Room size-2.4 x 3. 1 Ceiling height- 2.4 Rad size- 950 x 700 Max size- 1000 max Pipework under floor Bed 2 Room size-3.8 x 2.5 Ceiling height- 2.4 Rad size- 930 x 700 1200 max Max size- Pipework under floor Bed 3 Room size-2.9 x 2 Ceiling height- 2.4 Rad size- 930 x 700 Max size- 1000 max Landing 1.9 x 2.5 Room size- Ceiling height- 2.4 Rad size- 550 x 700 Max size- same size Living room Room size-4.6 x 3.7 Ceiling height- 2.4 Rad size- 1200 x 600 Max size- na bigger rad Pipes will be in droppers Room size-kitchen Ceiling height- 2.4 x 4 Rad size- 1500 x 600 Max size- same size Pipes to be on droppers Bathroom Room size-1.6 x 1.5 Ceiling height- 2.; Rad size- 630 x 700 Max size- will need to be same size as pipework can’t be changed Toilet Room size-0.8 x 1.6 Ceiling height- 2.4 Rad size- 610 x500 Max size- same size as pipework can’t be changed Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34525
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34525
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34525
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34525
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34525
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes