## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Whinchat House
Berwick Drive
Battle Hill
NE28 9ED
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-34709
DATE OF REPORT: 19/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34709
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 8 Whinchat House
Berwick Drive
Battle Hill
NE28 9ED
Carried Out On | 19/07/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Reactive survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34709
SECTION 3: Report
Upstairs Smoke Alarm Location & Date hallway aug 2031 smoke alarm in living room Aug 2031 Downstairs Smoke Alarm Location & Date - na Heat Alarm Location & Date - kitchen July 2031 Co Alarm Location & Date - kitchen oct 2031 Co Alarm Replaced - Yes/No No Boiler to be removed - worcester Bosch greenstar 25si Boiler Serial number – 7716130139 Job Type – Conversion / boiler replacement / full heating - boiler replacement Combi / heat only / system boiler - combi Boiler location - kitchen Is 22mm gas pipe visible at boiler - yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue - horizontal Flue guard needed - no Standoff kit required - no Gas meter internal / external – external Condensate Condensate pump required – Yes/No No Condensate current termination acceptable yes or no - yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? From the boiler in 19 then terminates into kitchen sink waste Number of radiators - 5 Size of pipework at radiators - 10mm Number of bathrooms - 1 Electric shower - no off the combi Any other means of heating - no Current Cooker Type – Electric / Gas Electric Current Fire Type – Electric / Gas None

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes