## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
38 Capel Avenue
Haltwhistle
Northumberland
NE49 9EP
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-34713
DATE OF REPORT: 18/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34713
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 38 Capel Avenue
Haltwhistle
Northumberland
NE49 9EP
Carried Out On | 18/07/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Investigate smell of gas liaise with D Hunter on attendance. Carry out tightness test.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34713
SECTION 3: Report
PN 18/07/23 Attended job smell of gas and Ecv passing called northern gas Found leak on anaconda changed anaconda regreased Ecv satisfactory tightness test

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34713
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34713
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34713
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34713
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34713
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes