## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 vicarage court
Studley road
Hartlepool
TS25 1tn
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-34986
DATE OF REPORT: 22/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34986
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 13 vicarage court
Studley road
Hartlepool
TS25 1tn
Carried Out On | 22/07/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Communal heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34986
SECTION 3: Report
PN 22/7/23 Water Luke warm at outlets in flats Now above 50.c hot water working Explained to tenants a lot of work is going on in plant room so there will be some disruptions to the water

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34986
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34986
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34986
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34986
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34986
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes