## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Ashford Place
York
YO24 4QU
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-35068
DATE OF REPORT: 25/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35068
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 10 Ashford Place
York
YO24 4QU
Carried Out On | 25/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for rads and distro

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35068
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - Downstairs Smoke Alarm Location & Date - Heat Alarm Location & Date - Co Alarm Location & Date -July 2028 Co Alarm Replaced - No Boiler to be removed -potterton promax combi Boiler Serial number – SER.No: AWA094345404HB Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -bedroom cupboard Is 22mm gas pipe visible at boiler -yes Flue type –horizontal Any access requirements to access flue -ladders second floor Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32 Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators - Number of bathrooms - Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Bed 1 Room size-2.7 x 3.6 Ceiling height- 2.4 Rad size- 1400x 600 Max size- 600 height Bathroom 1.8 x 1.7 Room size- Ceiling height- 2.4 Rad size- towel rad 450 x 1200 Max size- na Bed 3 Room size-2.7 x 4.5 Ceiling height- 2.4 Rad size- 1000 x 700 Max size- 1000 max length Kitchen Room size-1.7 x 3.9 Ceiling height- 2.4 Rad size- towel rad 450 x 850 Max size- 800 x 700 Hallway Room size-1.8 x 2.2 Ceiling height- 2.4 Rad size- 800 x 600 Max size- 800 max length Living room 3.1 x 5.9 Room size-1400 x 600 Ceiling height- 2.4 Rad size- 1400x 600 Max size- 1400 max length Conservatory Room size-2.2 x 2.3 Ceiling height- 2.4 Rad size- 1000 x 700 double Max size- same size Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes