## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Park House
Park Avenue Close
Crook
DL15 9JR
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 23-35211
DATE OF REPORT: 13/03/2025
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35211
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | Park House
Park Avenue Close
Crook
DL15 9JR
Carried Out On | 26/07/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
Please attend site to carry out survey to amend communal toilets to be mains fed and decommission rain harvesting supply.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35211
SECTION 3: Report
Ct 26/7 Pipe work runs down in store 3 all 22mm pipe to alkathine can be disconnected aslong as tanks ect are removed if not will taking their draw away point not cause flooding outside ? 15mm cold feed can be isolated at lever valve in store room temporarily but outside flat 25 will be minimum dead leg. Cold feed from rain direct tank in store room above can be cut out. Cold water for mains to toilet can be taken from boxings under basin and clipped or trunkend to the wall. Materials required. 2x 3m 15mm copper 6x 90 2x t 2 x service valve flex for toliet 1x15mm blank 2x 22mm blank Either 6x 15mm hinged clips or 2x trunken 4x trunken 90

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35211
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35211
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35211
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35211
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35211
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes