## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Aiden Close
Stanley
County Durham
DH9 0UD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-35223
DATE OF REPORT: 26/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35223
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Aiden Close
Stanley
County Durham
DH9 0UD
Carried Out On | 26/07/2023
Survey Completed By | Michael Robinson
SECTION 2: Introduction
Reactive survey for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35223
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -landing, exp Jun 31 Downstairs Smoke Alarm Location & Date -entrance hall, exp jun 31 Heat Alarm Location & Date - kitchen, exp July 31. Co Alarm Location & Date -bedroo, exp Apr 31 Co Alarm Replaced - no Boiler to be removed - yes Boiler Serial number –211026308511 Job Type – Conversion / boiler replacement / full heating - boiler replacement Combi / heat only / system boiler - combi Boiler location - upstairs bedroom cupboard Is 22mm gas pipe visible at boiler - yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE - horizontal flue Any access requirements to access flue - ladders Flue guard needed - no Standoff kit required - yes Gas meter internal / external – internal Condensate Condensate pump required – no Condensate current termination acceptable yes or no - no If no what needs to be amended to bring it up to regs ? New pipework into drainage system. Is the condensate currently through the wall in 19 or 32mm ? 19mm Number of radiators -6 Size of pipework at radiators - 10mm pipework Number of bathrooms - 1 Electric shower - no Any other means of heating - no Current Cooker Type – Electric / Gas: not installed Current Fire Type – Electric / Gas: none

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes