## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Braewell Close
Hexham
NE48 2RT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-35308
DATE OF REPORT: 27/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35308
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 Braewell Close
Hexham
NE48 2RT
Carried Out On | 27/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No airsourcr heat - No hot water to the porperty

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35308
SECTION 3: Report
27/07/23 RB- when arriving on site the hot water cylinder was only at 33% full. When checking the controls the demand for water should have been on. After looking at the set points noticed that the hot water was only set to be at 50 degrees. After speaking to DH on the phone tried to go some through processes to getting it back on. By the time of leaving site we managed to have the fan coming on intermittently. I passed the office number to the tenant who is going to call and update us in the morning.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35308
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35308
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35308
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35308
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35308
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes