## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Feetham Court
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-35479
DATE OF REPORT: 02/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35479
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Feetham Court
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
Carried Out On | 02/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35479
SECTION 3: Report
When arriving on site found the expansion vessel had failed and was leaking pretty bad. Isolated the expansion vessel and then isolated the tank. Once the tank was isolated I went and checked the water and pressure inside, it had heated up and pressure was back to normal. Pipework going to the expansion was 28mm

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes