## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 St Pauls Road
Hexham
Northumberland
NE46 2AR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-35500
DATE OF REPORT: 16/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35500
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 24 St Pauls Road
Hexham
Northumberland
NE46 2AR
Carried Out On | 03/08/2023, 18/08/2023, 16/01/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35500
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A Existing Cylinder & Tanks - Y or N/A Existing Flue Run - Y or N/A Existing Controls- Y or N/A Stop Tap - Y or N/A Gas Meter- Y or N/A Distribution Board - Y or N/A Existing Condensate - Y or N/A New Condensate Termination- Y or N/A Existing PRV Termination - Y or N/A New PRV Termination - Y or N/A Smoke Alarms - Y or N/A Co2 Alarms - Y or N/A Existing poor condition radiators – Y or N/A Scaffolding location - Y or N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) -house Smoke Alarm Locations -hall /lounge/ landing Co Alarm Location -bedroom cupboard Distribution Pannel Location -under stairs Existing heating control location - hall Existing supply (Natural Gas / LPG / Oil) - natural gas Solar Thermal (Yes / No) no Existing Boiler Make & Model- potterton promax Existing Boiler serial number -AWA132050121LC Existing Boiler Location - bedroom cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) -boiler replacement New Boiler Location -bedroom cupboard Stand off kit required - no New Flue (Horizontal / Vertical) -vertical Flue Materials Required - Scaffolding required - no Gas Meter location (Internal / External) -internal Stop tap location - kitchen Stop tap working (Yes / No) - yes Existing condensate termination location -internal goes into floor New Condensate termination location - Condensate materials required - Condensate Pump (Yes / No) - Pressure relief termination location - internal goes into floor no visible pipes on outside of property Number of Bathrooms - 1 Number of thermostatic Showers - 0 Number of electric Showers -1 Total number of existing radiators - Current Cooker (Gas / Electric) - gas Current Fire (Gas / Electric) -none Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 15mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 15mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) - Talon Trunking requirements –no Radiators Existing Lounge Rad Size - 1200x600 double panel double convector 1200x700 double panel double convector Room Length x Width x Height (In meters) - 5.8x4.0x2.3 Max New size if applicable - n/a Existing Kitchen Rad Size - 800x700 Room Length x Width x Height (In meters) -4.0x3.9x2.2 Max New size if applicable - n/a Existing Hall+stairs Rad Size - 700x700 single panel single convector Room Length x Width x Height (In meters) - 2.9x0.9x2.0 /stairs 5.0x1.0x3.7 Max New size if applicable - 800x700 Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size - 700x700 single panel single convector Room Length x Width x Height (In meters) - 1.9x1.6x2.4 Max New size if applicable - Existing Bed 1 Rad Size - 1200x500 single panel single convector Room Length x Width x Height (In meters) - Max New size if applicable - 3.2x2.9x2.3 Existing Bed 2 Rad Size - 1200x500single panel single convector Room Length x Width x Height (In meters) - Max New size if applicable - 4x2x2.3 Existing Bed 3 Rad Size - 1200x500 single panel single convector Room Length x Width x Height (In meters) - Max New size if applicable - 1.7x1.7x2.8 Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes All bedroom radiators undersized Hallway and stairs radiator undersized Bathroom rad undersized

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes