## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 The High Road
South Shields
NE34 6QB
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-35579
DATE OF REPORT: 14/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35579
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 20 The High Road
South Shields
NE34 6QB
Carried Out On | 07/08/2023, , 14/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35579
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - Downstairs Smoke Alarm Location & Date Heat Alarm Location & Date -December 2033 Co Alarm Location & Date -nov 2030 Co Alarm Replaced -/No Boiler to be removed -potterton promax combi Boiler Serial number – AWA080930266BC Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -bedroom Is 22mm gas pipe visible at boiler -yes Flue type –horizontal Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm Any access requirements to access flue -second floor Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required –/No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Soak away Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -7 Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – / Gas Current Fire Type – Electric Bed 1 Room size-4.2 x 3.6 Ceiling height- 2.4 Rad size- 1130 x 700 Max size- 700 max height Landing Room size-0.9 x 2.1 Ceiling height- 2.4 Rad size- 540 x 700 Max size- same size Bed 2 Room size-2.8 x 4.2 Ceiling height- 2.4 Rad size- -1130 x 700 Max size-700 max height Living room Room size-4.2 x 3.5 Ceiling height- 2.4 Rad size- 1140 x 700 Max size- 1200 max length Kitchen Room size-1.4 x 4.2 Ceiling height- 2.4 Rad size- 1270 x 600 Max size- Bathroom Room size-2.6 x 3.1 Ceiling height- 2.4 Rad size- 500 x 700 Max size- 1200 max length Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35579
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35579
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35579
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35579
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35579
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes