## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Dunlop Crescent
South Shields
NE34 6QG
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-35604
DATE OF REPORT: 07/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35604
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 25 Dunlop Crescent
South Shields
NE34 6QG
Carried Out On | 07/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35604
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -august 2027 Downstairs Smoke Alarm Location & Date -august 2027 Heat Alarm Location & Date -Jan 2028 Co Alarm Location & Date -na Co Alarm Replaced - No Boiler to be removed -potterton promax combi Boiler Serial number –na Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -bedroom cupboard Is 22mm gas pipe visible at boiler -yes Flue type - horizontal Any access requirements to access flue -ladders for second floor Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -8 Size of pipework at radiators -15mm Number of bathrooms -no Electric shower -no Any other means of heating - no Current Cooker Type – gas Current Fire Type –electric Bed1 Room size-3.6 x 2.7 Ceiling height- 2.4 Rad size- 1300 x 700 Max size- same size Bed 2 Room size-3.4 x 2.5 Ceiling height- 2.4 Rad size- 1100 x 700 Max size- same size Bed 3 Room size-2.5 x 2.4 Ceiling height- 2.4 Rad size- 1100 x 700 Max size- same size Landing Room size-0.8 x 0.9 Ceiling height- 2.4 Rad size- 550 x 700 Max size- same size Hallway Room size-2.2 x 1.1 Ceiling height- 2.4 Rad size- 510 x 600 Max size- same size Living room Room size-3.9 x 3.4 Ceiling height- 2.4 Rad size- 1500 x 700 Max size- same size Kitchen Room size-2.4 x 3.4 Ceiling height- 2.3 Rad size- 1200 x 600 Max size- same size Toilet Room size-1.3 x 0.9 Ceiling height- 2.4 Rad size- 400 x 700 Max size- same size Bathroom Room size-1.4 x 1.5 Ceiling height- 2.4 Rad size- 500 x 700 Max size- same size Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35604
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35604
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35604
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35604
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35604
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes