## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
44 Dunlop Crescent
South Shields
NE34 6QG
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-35672
DATE OF REPORT: 14/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35672
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 44 Dunlop Crescent
South Shields
NE34 6QG
Carried Out On | 14/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35672
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -march 2033 Downstairs Smoke Alarm Location & Date - Heat Alarm Location & Date -feb 2027 Co Alarm Location & Date -feb 2030 Co Alarm Replaced - No Boiler to be removed -potterton promax Boiler Serial number – Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -bathroom Is 22mm gas pipe visible at boiler -yes Flue type –Horizontal Any access requirements to access flue -ladders for second floor flue Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required –/No Condensate current termination acceptable yes or no -no needs taking out in 32 min Soak away If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -7 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - no Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – / Gas Current Fire Type – Electric Kitchen Room size-4.2 x 2.4 Ceiling height- 2.4 Rad size- 1500 x 500 Max size- 1500 max length Droppers Livingrooom Room size-3.9 x 3.8 Ceiling height- 2.4 Rad size- 1500 x 500 Max size- 1500 max length Droppers Bed 1 Room size-2.5 x 3.5 Ceiling height- 2.4 Rad size- 900 x 600 Max size- 600 max height Bed 2 Room size-2.5 x 2.4 Ceiling height- 2.4 Rad size- 900 x 600 Max size- 900 max length Bathroom Room size-2.6 x 1.9 Ceiling height- 2.4 Rad size- 500 x 700 Max size- same size Bed 3 Room size-2.9 x 2.6 Ceiling height- 2.4 Rad size- 900 x 600 Max size- 600 max height Landing Room size-0.8 x 0.9 Ceiling height- 2.4 Rad size- 550 x 700 Max size- same size Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35672
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35672
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35672
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35672
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35672
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes