## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 North Close
South Shields
NE34 6QD
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-35678
DATE OF REPORT: 10/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35678
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 3 North Close
South Shields
NE34 6QD
Carried Out On | 10/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35678
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -may 2029 Downstairs Smoke Alarm Location & Date -may 2029 Heat Alarm Location & Date -October 2029 Co Alarm Location & Date -july 2029 Co Alarm Replaced - No Boiler to be removed -potterton promax combi Boiler Serial number – AWA081110202BC Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -bedroom cupboard Is 22mm gas pipe visible at boiler -yes Flue type – Horizontal Any access requirements to access flue -ladders for flue Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs new soak away Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -needs taking out in 32mm Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - no Size of pipework at radiators -15mm One rad on 10mm downstairs toilet Number of bathrooms -1 Electric shower -no Any other means of heating -yes Current Cooker Type – Electric Current Fire Type – Electric Bed 1 Room size-3.2 x 4.3 Ceiling height- 2.3 Rad size- 1130 x 700 Max size- 1200 length Bed 2 Room size-1.9 x 4.3 Ceiling height- 2.3 Rad size- 1130 x 600 Max size- 1200 length Landing Room size-0.9 x 2.6 Ceiling height- 2.3 Rad size- 530 x 700 Max size- same size Hallway downstairs Room size-1.1 x 0.9 Ceiling height- 2.3 Rad size- 550 x 700 Max size- same size Rad has just been installed by home group so unsure if it needs to be changed Living room Room size-3.5 x 4.2 Ceiling height- 2.3 Rad size- 1150 x 600 Max size- 1200 length Kitchen Room size-1.9 x 4.1 Ceiling height- 2.3 Rad size- 1200 x 500 Max size- 600 height max Toilet Room size-1.1 x 1.6 Ceiling height- 2.3 Rad size- 500 x 620 Max size- 700 max length Bathroom Room size-2.2 x 2.6 Ceiling height- 2.3 Rad size- 640 x 700 Max size- 800 max Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35678
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35678
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35678
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35678
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35678
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes