## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 Damson Place
Halifax
HX1 3PG
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-35780
DATE OF REPORT: 15/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35780
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 15 Damson Place
Halifax
HX1 3PG
Carried Out On | 15/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35780
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -unable to see Downstairs Smoke Alarm Location & Date -unable to see Heat Alarm Location & Date -November 2029 Co Alarm Location & Date -march 2031 Co Alarm Replaced - No Boiler to be removed -Worcester green star 12 i system MK 1V Boiler Serial number – 5570 - 103- 000220 - 7716130143 Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -system boiler Boiler location -kitchen Is 22mm gas pipe visible at boiler -no Flue type – horizontal 3 extensions Any access requirements to access flue -no Flue guard needed -no Standoff kit required -yes Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -yes If no what needs to be amended to bring it up to regs ? Runs internal Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -8 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - yes Size of pipework at radiators -10mm with 15mm valves Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Gas Current Fire Type – Electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35780
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35780
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35780
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35780
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35780
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes