## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Percy Lodge
St John's Terrace
Percy Main
NE29 6JT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-35831
DATE OF REPORT: 30/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35831
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Percy Lodge
St John's Terrace
Percy Main
NE29 6JT
Carried Out On | 10/08/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35831
SECTION 3: Report
3 x Hamworthy fleet f125v boilers. 1= operational 2= operational 3= operational 2 x Hamworthy calorifiers. 1= operational 2= operational 2 x DHWS Expansion vessels. 1= operational 3.5 bar 2= operational 3.5 bar 1 x LTHW Expansion vessel = operational 1.7 bar 1 x gas interlock = operational Flue = good Pipe work = no visible leaks 1 x Hamworthy pressurisation unit = operational Gauges = operational Valves = operational 2 x grundfos magna 3d 40-180 VT pumps 1= operational 1.8 amps 2= operational 1.8 amps 2 x grundfos magna 3d 40-180 primary pumps 1= operational 2.6 amps 2= operational 2.6 amps 1 x grundfos ups 32-55 secondary hot water pump = operational 0.3 amps 2 x biral de strat pumps 1= operational 0.3 amps 2= operational 0.3 amps Water sample dirty PH8 @ 27 degrees

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35831
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35831
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35831
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35831
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35831
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes