## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rosebank Hall
Willington Terrace
Wallsend
NE28 7BT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-35832
DATE OF REPORT: 30/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35832
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rosebank Hall
Willington Terrace
Wallsend
NE28 7BT
Carried Out On | 14/08/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35832
SECTION 3: Report
3 x Remeha Quinta pro boilers 1= operational 2= operational 3= operational 2 x Remeha calorifiers 1= operational 2= operational 2 x DHWS expansion vessels 1= operational charged to 3.5 bar 2= operational charged to 3.5 bar 1 x LTHW expansion vessel = operational 1.5 bar 2 x 1 inch pressure relief valves on calorifiers = passing 1 x flamco pressurisation unit = operational Lagging = average Gauges = operational Valves = operational Flues = good No visible leaks Gas interlock = operational 2 x Siemens actuators 1= operational 2= operational 2 x 3 port valves 1= operational 2= operational Water test PH8@ 35 degrees 2 x grundfos TPE 50-180 primary pump 1= operational 1.2 amps 2= operational 1.2 amps 1 x grundfos TPE3 50-240= operational 1.3 amps 1 x grundfos TPE 50-240 = operational 1.3 amps 2 x grundfos comfort de strat pumps 1= operational 0.3 amps 2= operational 0.3 amps

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35832
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35832
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35832
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35832
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35832
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes