## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Preston Court
Roseberry Avenue
North Shields
NE29 9PG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-35833
DATE OF REPORT: 30/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35833
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Preston Court
Roseberry Avenue
North Shields
NE29 9PG
Carried Out On | 09/08/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35833
SECTION 3: Report
3 x Hamworthy fleet f125v boilers. 1= operational 2= operational 3= operational 2 Hamworthy power stock calorifiers. 1= operational 2= operational 2 x DHWS expansion vessels 1= operational 3.5 bar 2= operational 3.5 bar 1 x LTHW expansion vessel = operational 1.7 bar 1 x Hamworthy pressurisation unit = operational Gauges = operational Valves = operational 2 x grundfos magna 3d 40-120 primary pumps. 1= operational 1.9 amps 2= operational 1.9 amps 2 x grundfos magna 3d 40-150 vt pumps 2 x biral de strat pumps 1= operational 0.3 amps 2= operational 0.3 amps 1 x grundfos magna 1 secondary hot water pump = operational 0.3 amps Lagging = average Flue = satisfactory Pipe work = no visible leaks Prv,s = satisfactory Dirt and air separator = drained and flushed Initial drain water 37 degrees PH 7.9

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35833
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35833
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35833
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35833
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35833
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes