## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rudyerd Court
Lower Rudyerd Street
North Shields
NE29 6PD
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-35834
DATE OF REPORT: 30/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35834
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rudyerd Court
Lower Rudyerd Street
North Shields
NE29 6PD
Carried Out On | 09/08/2023, 10/08/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35834
SECTION 3: Report
3 x Remeha Quinta pro 115 boilers 1= operational 2= operational 3= operational 2 x Remeha calorifiers 1= operational 2= operational 2 x DHWS expansion vessels 1= operational 3.5bar 2= operational 3.5 bar 1 x LTHW expansion vessel = operational 1.5 bar Flue = poor. Old leaks Gauges = operational 1 x gas interlock = operational PRV,S = operational Valves = operational 2 x grundfos TPE3 VT pumps. 1= operational 1.3 amps 2= operational 1.3 amps 2 x grundfos comfort de strat pumps 1= operational 0.3 amps 2= operational 0.3 amps 2 x grundfos TPE50-240 PRIMARY PUMPS 1= operational 3.4 amps 2= operational 3.4 amps 2 x Siemens actuators 1= operational 2= disconnected from valve System water dirty PH8.0 @ 37 degrees

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35834
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35834
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35834
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35834
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35834
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes