## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Cherry Crescent
Holme-on-Spalding-Moor
York
YO43 4HS
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-35905
DATE OF REPORT: 13/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35905
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 14 Cherry Crescent
Holme-on-Spalding-Moor
York
YO43 4HS
Carried Out On | 13/11/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35905
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - landing March 2031 Downstairs Smoke Alarm Location & Date - dining room and bottom of stairs March 2031 Heat Alarm Location & Date - kitchen dec 2030 Co Alarm Location & Date -landing april 2027 Co Alarm Replaced - Yes/No no Boiler to be removed - potterton promax 28 he Boiler Serial number –AWA 134630221LC Job Type – Conversion / boiler replacement / full heating - boiler replacement Combi / heat only / system boiler - combi Boiler location - landing Cupboard Is 22mm gas pipe visible at boiler - yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE vertical 3x extensions 2x 45,s 1x vertical flue 1x flashing kit Any access requirements to access flue - yes roofer Flue guard needed - no but needs closure plate Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – Yes/No yes Condensate current termination acceptable yes or no - yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Pumped into bathroom Number of radiators - 7 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm pipework 15mm valves Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -yes Any other means of heating -no Current Cooker Type – Electric / Gas electric Current Fire Type – Electric / Gas not fitted

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes