## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 Damson Place
Halifax
HX1 3PG
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-35946
DATE OF REPORT: 27/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-35946
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 19 Damson Place
Halifax
HX1 3PG
Carried Out On | 25/09/2023
Survey Completed By | Matthew Wall
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-35946
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - may 2031 Downstairs Smoke Alarm Location & Date - Mar 2031 Heat Alarm Location & Date - na Co Alarm Location & Date - up and down stairs Mar 2031 Co Alarm Replaced - No Boiler to be removed - worchster greenstar system 15 Boiler Serial number –5570 103 0002047716130168 Job Type –boiler replacement system boiler - Boiler location - kitchen Is 22mm gas pipe visible at boiler - yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue - none Flue guard needed - no Standoff kit required - yes Gas meter internal / external –external Condensate needs upgrading and lagging Condensate pump required – No Condensate current termination acceptable yes or no - If no what needs to be amended to bring it up to regs ? Visavle Is the condensate currently through the wall in 19 or 32mm ? 19mm Number of radiators - 11 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm Size of pipework at radiators -10mm Number of bathrooms - 2 Electric shower - 1 Any other means of heating - none Current Cooker Type – Electric Current Fire Type – Electric / gas none Tenant has requested we go back Tuesday at half 2

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-35946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-35946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes