## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
69 The Acres
Wallsend
Tyne & Wear
NE28 7RQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-36051
DATE OF REPORT: 14/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36051
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 69 The Acres
Wallsend
Tyne & Wear
NE28 7RQ
Carried Out On | 14/08/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Reactive survey for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36051
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -salan0329 Downstairs Smoke Alarm Location & Date -sahall0329/ Heat Alarm Location & Date - Co Alarm Location & Date -cokit0933 Co Alarm Replaced - Yes/No no Boiler to be removed -ideal ogic code combi 38 Boiler Serial number –20632700000452 Job Type – Conversion / boiler replacement / full heating -boiler replacement Combi / heat only / system boiler - Boiler location -combi Is 22mm gas pipe visible at boiler -15mm Flue type – horizontal If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue -no Flue guard needed -no Standoff kit required -no Gas meter internal / external – Condensate Condensate pump required – Yes/No no Condensate current termination acceptable yes or no -yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ?19 internal Number of radiators -8 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -no Any other means of heating -electric fire Current Cooker Type – Electric / Gas gas Current Fire Type – Electric / Gas /electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes