## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carisbrooke Close
Chester Terrace
Sunderland
SR1 3SN
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 23-36204
DATE OF REPORT: 30/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36204
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Carisbrooke Close
Chester Terrace
Sunderland
SR1 3SN
Carried Out On | 15/08/2023, 16/08/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36204
SECTION 3: Report
2 x potterton Sirius fs70 boilers 1= operational 2= operational 1 x andrews water heater = operational 1 x andrews hiflo water heater = operational 2 x grundfos UPS 40-50 de strat pumps 1= operational 0.4 amps 2= operational 0.4 amps 2 x wilo yonos maxo 50 CT pumps 1= operational 1.8 amps 2= operational 1.8 amps Lagging = poor on the old sections Valves = operational but poor Flues = good Mechanical flue dilution = operational Grundfos UPS 32-55 secondary return pump = operational Gauges = operational Interlock = operational 2 x grundfos magna 1 32-60 shunt pumps. 1= operational 0.9 amps 2= operational 0.9 amps No visible leaks on pipe work

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36204
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36204
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36204
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36204
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36204
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes