## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Fern View Grove
Sheffield
S12 4PW
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-36223
DATE OF REPORT: 29/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36223
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 13 Fern View Grove
Sheffield
S12 4PW
Carried Out On | 25/08/2023
Survey Completed By | Thomas Robinson
SECTION 2: Introduction
Planned survey for boiler replacement - tenant does not want you in the bedroom

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36223
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -yes Downstairs Smoke Alarm Location & Date -hallway Heat Alarm Location & Date -kitchen Co Alarm Location & Date -090924 Co Alarm Replaced - Yes/No no Boiler to be removed -potterton Boiler Serial number –0 Job Type – Conversion / boiler replacement / full heating - Combi / heat only / system boiler - system boiler swap Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE standard flue Any access requirements to access flue -no Flue guard needed -no Standoff kit required -no Gas meter internal / external –externally Condensate internal Condensate pump required –/No Condensate current termination acceptable yes or no - If no what needs to be amended to bring it up to regs ? Yes Is the condensate currently through the wall in 19 or 32mm ?n/a Number of radiators -6 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 10mm drops Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -no Any other means of heating - Current Cooker Type – Electric / Gas electric cooker Current Fire Type – Electric / Gas

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes