## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Halifax View
Claremount Road
Halifax
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-36252
DATE OF REPORT: 22/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36252
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 8 Halifax View
Claremount Road
Halifax
Carried Out On | 22/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36252
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -nov 2031 Downstairs Smoke Alarm Location & Date -na Heat Alarm Location & Date -Feb 2029 Co Alarm Location & Date -feb 2028 Co Alarm Replaced - No Boiler to be removed -remeha avanta plus Boiler Serial number –unable to see Job Type – Conversion / boiler replacement / full heating -combi swap Combi / heat only / system boiler - Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type – horizontal Any access requirements to access flue -ladders for flue Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -yes If no what needs to be amended to bring it up to regs ? Runs internal Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - Size of pipework at radiators -15mm Number of bathrooms 1 Electric shower -no Any other means of heating -no Current Cooker Type – Gas Current Fire Type – Electric Living room Room size-4.8 x 3.5 Ceiling height- 2.3 Rad size- 700 x 609 Max size- same size Bathroom Room size-2.3 x 2.3 Ceiling height- 2.3 Rad size- 700 x 600 Max size- same size Dining room Room size-3.3 x 2.7 Ceiling height- 2.3 Rad size- 1000 x600 Max size- same size Bed 1 Room size-3.0 x 3.1 Ceiling height- 2.3 Rad size- -1000 x 600 Max size- same size Hallway Room size-2.2 x 4.1 Ceiling height- 2.3 Rad size- 900 x 600 Max size- same size Living room 2 Room size- Ceiling height- Rad size- 1000 x 600 Max size- same size Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36252
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36252
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36252
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36252
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36252
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes