## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 North Magdalene
Consett
County Durham
DH8 6RG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-36299
DATE OF REPORT: 29/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36299
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 North Magdalene
Consett
County Durham
DH8 6RG
Carried Out On | 29/08/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36299
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - Landing, Nov 31 Downstairs Smoke Alarm Location & Date - Hallway, Nov 31 Heat Alarm Location & Date - None present Co Alarm Location & Date - Land8ng, Dec 25 Co Alarm Replaced - No Boiler to be removed - Vaillant EcoTec Pro 28 R1 Boiler Serial number –210714308511 Job Type – boiler replacement - Combi Boiler location - Landing Cupboard. Is 22mm gas pipe visible at boiler - Yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE - Vertical Flue, 2 x 45° bends, 3 lengths. Any access requirements to access flue - Loft ladders required. Flue guard needed - No Standoff kit required - No Gas meter external Condensate - Goes under flooring and Terminates in back garden. Condensate pump required – No Condensate current termination acceptable no - If no what needs to be amended to bring it up to regs ? Needs wider pipework upon exiting the property, currently 21.5mm before going into 32mm. Needs lagging also and it currently Terminates above the drain. Is the condensate currently through the wall in 19 or 32mm ? 21.5mm Number of radiators - 8 Current radiator valve size and type i.e 15mm valve - 15mm incorporating stem elbow to 10mm pipework - Size of pipework at radiators - 10mm microbore plastic. Number of bathrooms - 1 Electric shower - No Any other means of heating - Current Cooker Type – Electric Current Fire Type – Electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes