## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
28 North Magdalene
Consett
County Durham
DH8 6RG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-36307
DATE OF REPORT: 16/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36307
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 28 North Magdalene
Consett
County Durham
DH8 6RG
Carried Out On | 16/10/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36307
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - landing Aug 2028 Downstairs Smoke Alarm Location & Date -jun 2028 Heat Alarm Location & Date -na Co Alarm Location & Date - landing feb 2026 Co Alarm Replaced - Yes/No no Boiler to be removed - Vaillant Eco Tec pro 28 Boiler Serial number – 210717308511 Job Type – Conversion / boiler replacement / full heating - boiler replacement Combi / heat only / system boiler - combi Boiler location - Is 22mm gas pipe visible at boiler -yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE vertical 2x 45 2x extensions Any access requirements to access flue -no Flue guard needed -yes Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – Yes/No yes Condensate current termination acceptable yes or no - no If no what needs to be amended to bring it up to regs ? 32 mm external pipe upgrade 3m Is the condensate currently through the wall in 19 or 32mm ?19mm Number of radiators - 8 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 10mm with 10mm valves Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower - no Any other means of heating -no Current Cooker Type – Electric / Gas electric Current Fire Type – Electric / Gas electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36307
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36307
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36307
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36307
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36307
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes