## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
63 North Magdalene
Consett
County Durham
DH8 6RQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-36339
DATE OF REPORT: 29/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36339
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 63 North Magdalene
Consett
County Durham
DH8 6RQ
Carried Out On | 29/08/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36339
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - Landing, Jan-32 Downstairs Smoke Alarm Location & Date - Hallway, Not Visible. Lounge, Oct-33, Front Porch Oct-33. Back Porch Jan-33. Heat Alarm Location & Date - Kitchen Jul-33 Co Alarm Location & Date - Landing, Oct-25. Co Alarm Replaced - No Boiler to be removed - Vaillant EcoTec Pro 28 R2 Boiler Serial number – 210905308511 Job Type – boiler replacement - Combi Boiler location - Landing Cupboard. Is 22mm gas pipe visible at boiler - Yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE - 2 x 45° bends and 2 x lengths. Any access requirements to access flue - Loft ladder required. Loft not boarded out. Flue guard needed - No Standoff kit required - No Gas meter external Condensate goes under floors Condensate pump required – No Condensate current termination acceptable no - If no what needs to be amended to bring it up to regs ? Lagging, 21.5mm out of wall. Is the condensate currently through the wall in 19 or 32mm ? 21.5mm into 32mm. Number of radiators - 8 Current radiator valve size and type i.e 15mm valve - 15mm incorporating stem elbow to 10mm pipework - Size of pipework at radiators - 10mm microbore plastic. Number of bathrooms - 1 Electric shower - No Any other means of heating - Current Cooker Type – Gas Current Fire Type – Electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes