## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Sahlimar Street
Halifax
HX1 4JN
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-36395
DATE OF REPORT: 22/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36395
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 10 Sahlimar Street
Halifax
HX1 4JN
Carried Out On | 22/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36395
SECTION 3: Report
Tenant wants radiators and boiler only no pipe work Upstairs Smoke Alarm Location & Date -April 2030 Downstairs Smoke Alarm Location & Date -April 2030 Heat Alarm Location & Date - na Co Alarm Location & Date -unable to see Co Alarm Replaced - No Boiler to be removed -potterton promax sl Boiler Serial number – DNG092560045DC Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -system boiler Boiler location -kitchen Is 22mm gas pipe visible at boiler -no Flue type – horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -yes Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Gas Current Fire Type – Electric Kitchen Room size-3.7 x 3.2 Ceiling height- 2.3 Rad size- 720 x 500 Max size- same size Dining room Room size-3.9 x 3.5 Ceiling height- 2.3 Rad size- 1040 x 500 Max size- same size Downstairs bathroom Room size-2.7 x 1.3 Ceiling height- 2.3 Rad size- 720 x 500 Max size- same size Hallway Room size-1.1 x 5 Ceiling height- 2.3 Rad size- 1000 x 500 Max size- same size Living room Room size-4.4 x 4.6 Ceiling height- 2.6 Rad size- 1450 x 500 Max size- same size Bed 1 Room size-4.2 x 2.7 Ceiling height- 2.3 Rad size- 720 x 500 Max size- same size Bed 2 Room size-3.6 x 2.7 Ceiling height- 2.3 Rad size- 720 x 500 Max size- same size Bed 3 Room size-3 x 3.9 Ceiling height- 2.3 Rad size- 720 x 500 Max size- same size. Bed 4 Room size-3.2 x 2.0 Ceiling height- 2.3 Rad size- 520 x 520 Max size- same size Bed 5 Room size-3.2 x 3.0 Ceiling height- 2.3 Rad size- 720 x 509 Max size- same size Bathroom Room size-1.9 x 2.1 Ceiling height- 2.3 Rad size- 520 x 520 Max size- same size

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36395
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36395
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36395
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36395
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36395
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes