## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Shalimar Street
Halifax
HX1 4JN
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-36401
DATE OF REPORT: 22/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36401
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 2 Shalimar Street
Halifax
HX1 4JN
Carried Out On | 22/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for rads and distro

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36401
SECTION 3: Report
Tenant requested no pipework to be done as laminate all downstairs Hallway Room size-3.3 x 2 Ceiling height- 2.3 Rad size- 720 x 500 Max size- same size Dining room Room size-3.7 x 5.3 Ceiling height- 2.3 Rad size- 720 x 720 Max size- same size Living room Room size-3.3 x 4.2 Ceiling height- 2.3 Rad size- 1000 x 500 Max size- same size Downstairs bathroom Room size-0.7 x 1.9 Ceiling height- 2.3 Rad size- 520 x 520 Max size- same size Upstairs bathroom Room size-2.1 x 1.9 Ceiling height- 2.3 Rad size- 420 x 500 Max size- same size Bed 1 Room size-3.5 x 3.4 Ceiling height- 2.3 Rad size- 720 x 500 Max size- same side Bed 2 Room size-3.4 x 4.5 Ceiling height- 2.3 Rad size- 720 x 500 Max size- same size Bed 3 Room size-2.1 x 2.9 Ceiling height- 2.3 Rad size- 520 x 520 Max size- same size Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes