## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
31 Shalimar Street
Halifax
HX1 4JN
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-36403
DATE OF REPORT: 22/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36403
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 31 Shalimar Street
Halifax
HX1 4JN
Carried Out On | 22/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for rads and distro

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36403
SECTION 3: Report
Dining room Room size-3.3 x 3.5 Ceiling height- 2.3 Rad size- 620 x 500 Max size- same size Kitchen Room size-3.3 x 3.7 Ceiling height- 2.3 Rad size- 520 x 520 Max size- same size Living room Room size-4.7 x 4.2 Ceiling height- 2.3 Rad size- 1330 x 500 Max size- same size Hallway Room size-0.9 x 4.0 Ceiling height- 2.3 Rad size- 820 x 500 Max size- same size Bathroom downstairs Room size-1.4 x 1.7 Ceiling height- 2.3 Rad size- 420 x 520 Max size- same size Bed 1 Room size-720 x 500 Ceiling height- 2.3 Rad size- 3.4 x 2.5 Max size- Bed 2 Room size-2.9 x 3.4 Ceiling height- 2.3, Rad size- 720 x 500 Max size- same size Bed3 Room size-3.0 x 3.8 Ceiling height- 2.3 Rad size- 720 x 500 Max size- same size Bed 4 Room size-1.3 x 5.4 Ceiling height- 2.3 Rad size- 720 x 509 Max size- same size Bathroom Room size-1.9 x 1.8 Ceiling height- 2.3 Rad size- 720 x 500 Max size-same size

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36403
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36403
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36403
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36403
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36403
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes