## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Nayfield Close
Driffield
YO25 6LS
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-36416
DATE OF REPORT: 29/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36416
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 12 Nayfield Close
Driffield
YO25 6LS
Carried Out On | 29/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36416
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -December 2032 Downstairs Smoke Alarm Location & Date -December 2032 Heat Alarm Location & Date - Co Alarm Location & Date -august 2023 Co Alarm Replaced - No Boiler to be removed -potterton promax Boiler Serial number –unable to see Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -bedroom cupboard Is 22mm gas pipe visible at boiler -yes Flue type –2 extensions 2 45s vertical terminal Any access requirements to access flue -roofer Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - Size of pipework at radiators - Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Bed 1 Room size-2.8 x 3 Ceiling height- 2.3 Rad size- 1250 x 600 Max size- same size Bed 2 Room size-1.9 x 2.1 Ceiling height- 2.3 Rad size- 800 x 600 Max size- same size Bed 3 Room size-3.5 x 3.6 Ceiling height- 2.3 Rad size- 1600 x 600 Max size- same size Livingroom Room size-3.8 x 4.2 Ceiling height- 2.3 Rad size- 1300 x 600 Max size- same size Dining room Room size-3.2 x 2.7 Ceiling height- 2.3 Rad size- 850 x 600 Max size- same size Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36416
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36416
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36416
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36416
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36416
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes