## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
37 Langley Gardens
Haydon Bridge
Northumberland
NE47 6EF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-36440
DATE OF REPORT: 22/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36440
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 37 Langley Gardens
Haydon Bridge
Northumberland
NE47 6EF
Carried Out On | 21/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Please install shower on site.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36440
SECTION 3: Report
Old shower had been installed at this property and wasn’t working when using it. As old pipe and cable position had been used the board had to be ripped off and changed and cable adjusted. New board cut and new shower installed. Also completed a shower at number 47.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes