## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1A Park Drive
Langley Park
Durham
DH7 9TD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-36479
DATE OF REPORT: 22/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36479
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1A Park Drive
Langley Park
Durham
DH7 9TD
Carried Out On | 22/08/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Reactive survey for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36479
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -na Downstairs Smoke Alarm Location & Date - living room and hall apr 2025 Heat Alarm Location & Date -not fitted Co Alarm Location & Date -outside of boiler cupboard dec 2025 Co Alarm Replaced - /No Boiler to be removed - Vaillant Eco Tec pro 28 Boiler Serial number –211014308511 Job Type – Conversion / boiler replacement / full heating - boiler replacement Combi / heat only / system boiler - combi Boiler location - hall cupboard Is 22mm gas pipe visible at boiler -yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE two lengths of flue and two 45 bends Any access requirements to access flue - no Flue guard needed -yes Standoff kit required -no Gas meter internal / external – yes Condensate yes Condensate pump required – no Condensate current termination acceptable yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm 19 under the floor terminating to waste Number of radiators -8 Size of pipework at radiators - 10mm Number of bathrooms - 1 Electric shower -yes Any other means of heating -no Current Cooker Type – Electric Current Fire Type – non

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes