## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Burnip Close
Easington Colliery
Peterlee
SR8 3PB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-36708
DATE OF REPORT: 06/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36708
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 Burnip Close
Easington Colliery
Peterlee
SR8 3PB
Carried Out On | 06/12/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
There is a leak coming from the combination valve on the unvented cylinder please could this be replaced - Survey completed on 24/05/2023 - FOWs to be completed as per Kieran Holmes instruction

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36708
SECTION 3: Report
Checked and tightened all joints. Replaced broken tundish and amended pipework to remove plastic fitting picture sent to admin

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes