## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 South View Gardens
Annfield Plain
Stanley
DH9 7SG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-36809
DATE OF REPORT: 01/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36809
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 16 South View Gardens
Annfield Plain
Stanley
DH9 7SG
Carried Out On | 01/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36809
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - N/A, Bungalow. Downstairs Smoke Alarm Location & Date - Hallway Apr-28 Heat Alarm Location & Date - Kitchen Sep-30 Co Alarm Location & Date - Hallway Aug-25 Co Alarm Replaced - No Boiler to be removed - Vaillant EcoTec Pro 28 R1 Boiler Serial number – 210711308511 Job Type – boiler replacement - combi Boiler location - Hallway Cupboard. Is 22mm gas pipe visible at boiler - Yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE Vertical, 2 x 45° bends and 3 x lengths. Any access requirements to access flue - Ladder required, loft not boarded. Flue guard needed - No Standoff kit required - No Gas meter external Condensate exits wall outside in 40mm. Condensate pump required – No Condensate current termination acceptable no - If no what needs to be amended to bring it up to regs ? Needs lagging and terminating below the drain. Is the condensate currently through the wall in 19 or 32mm ? 40mm Number of radiators - 6 Size of pipework at radiators - 10mm microbore plastic Number of bathrooms - 1 Electric shower - Yes Any other means of heating - Current Cooker Type – Electric Current Fire Type – Electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36809
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36809
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36809
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36809
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36809
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes