## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Penn Street
Scotswood Road
Newcastle Upon Tyne
NE4 7BG
CARRIED OUT ON BEHALF OF
Pattinson Scientific Services Ltd
REPORT NUMBER: 23-36845
DATE OF REPORT: 29/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36845
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Pattinson Scientific Services Ltd
Address | Penn Street
Scotswood Road
Newcastle Upon Tyne
NE4 7BG
Site Address | Penn Street
Scotswood Road
Newcastle Upon Tyne
NE4 7BG
Carried Out On | 29/08/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Issue with toilet

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36845
SECTION 3: Report
Toilet flush valve sealing intermittently, I isolated, removed and cleaned the seals on the flush valve however it was still not sealing every flush. Believe the issue maybe due to the button depression not springing back as it should. I've isolated the water to to right of the cistern and recommend a new flush valve. Top toilet lid will need re silicone sealing once repaired.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36845
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36845
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36845
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36845
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36845
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes