## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Vivian Crescent
Chester-Le-Street
DH2 2DG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-36862
DATE OF REPORT: 30/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36862
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Vivian Crescent
Chester-Le-Street
DH2 2DG
Carried Out On | 30/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Survey in preparation for repair due to possible pin hole on copper pipe in bathroom - repipe is required

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36862
SECTION 3: Report
When arriving on site noticed that the concrete floor was soaking in the bathroom. With pipework going through the floor decided that it would be best practice to repiped the hot and colds from the boiler through the ceiling into the loft space and drop it back down the wall where the cold runs now. Tenant has agreed to pipe runs and logistics of job. Will require 2 men for 1 day. Gear required is as followed. 18m plastic 15mm 10 15mm elbows 615mm Ts Pack of inserts 6m of 15mm copper 20 double Tylon clips 2 15mm flexi with isolations 2 lengths of Tylon double trunking

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes