## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
103 Whitworth Park Drive
Houghton-Le-Spring
Tyne & Wear
DH4 6GP
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-36867
DATE OF REPORT: 29/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36867
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 103 Whitworth Park Drive
Houghton-Le-Spring
Tyne & Wear
DH4 6GP
Carried Out On | 29/08/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Job Description - Cylinder installed today, no heating or hot water now, check electrics for loose connections and pipework for any leaks.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36867
SECTION 3: Report
PN 29/8/23 No visible leaks from pipework No loose wires in wiring centre There was water below the cylinder from the install Heating and hot water working

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36867
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36867
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36867
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36867
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36867
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes