## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 3, 14 St Georges Terrace
Jesmond
Newcaste Upon Tyne
NE2 2SY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-36957
DATE OF REPORT: 01/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-36957
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flat 3, 14 St Georges Terrace
Jesmond
Newcaste Upon Tyne
NE2 2SY
Carried Out On | 01/09/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Reactive survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-36957
SECTION 3: Report
PN. 31/8/23 Tenant not in will attend 01/9/23 Upstairs Smoke Alarm Location & Date -landing1232/bedroom1.0333/ lounge0333/ bedroom2. 0333/ landing cupboard 0333 Downstairs Smoke Alarm Location & Date -passage no date/ Heat Alarm Location & Date -kitchen0333 Co Alarm Location & Date -kitchen0732 Co Alarm Replaced - Yes/No no Boiler to be removed - main water heater Boiler Serial number –DLAD044 Job Type – Conversion / boiler replacement / full heating - boiler replacement Combi / heat only / system boiler -water heater Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue -big ladders required Flue guard needed -no Standoff kit required -yes Gas meter internal / external –internal Condensate Condensate pump required – Yes/No no Condensate current termination acceptable yes or no - no condensate fitted If no what needs to be amended to bring it up to regs ? New condensate required Is the condensate currently through the wall in 19 or 32mm ? None Number of radiators -electric radiators Size of pipework at radiators - Number of bathrooms -1 Electric shower -yes Any other means of heating -electric radiators Current Cooker Type – Electric / Gas electric Current Fire Type – Electric / Gas electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-36957
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36957
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36957
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36957
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-36957
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes