## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Lynwood House ( Flat 3 )
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37088
DATE OF REPORT: 04/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37088
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Lynwood House ( Flat 3 )
Durham Road
Lanchester
DH7 0LS
Carried Out On | 04/09/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Boiler / pipe noise continuing into the tenants flat at no. 3 our plumber /heating engineer attended and advised pass to yourselves call tenant Mrs Jarman on 01207528112

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37088
SECTION 3: Report
RB- went to job and when arriving tenant explained that there had been a loud fattening noise in the bathroom. After some inspection I removed the panels in the hall of the flat to find a broken double check valve. After isolating pipework to check that this was the case I went to consett wolsley to collect a valve under the job number. Replaced the valve and turned water back on to check for leaks, All okay.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes