## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
72 Kings Meadows
Sowerby
Thirsk
YO7 1PB
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-37094
DATE OF REPORT: 24/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37094
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 72 Kings Meadows
Sowerby
Thirsk
YO7 1PB
Carried Out On | 05/09/2023, 16/10/2023, 24/10/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for rads and distro

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37094
SECTION 3: Report
22mm Pipe Required in meters - 18 15mm Pipe Required in meters - 8 Talon Trunking 15mm double required - W40 x D25 x L2350mm (Lounge) W40 x D25 x L3600mm (Kitchen) Talon Trunking 22mm double required - Talon Trunking external corners & Size - Talon Trunking internal corners & Size - Talon Trunking End Caps & Size - Talon Trunking connectors & Size - Radiator 1 - Location ( Kitchen, Living Room ) - Lounge Room size ( Width & Length ) - W3500 x L4900 mm Ceiling height - 2350mm Current Rad size - W1600 x H600mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W2000 x H600mm Radiator 2 - Location ( Kitchen, Living Room ) - Kitchen Room size ( Width & Length ) - W3600 x L3600 mm Ceiling height - 2350mm Current Rad size - W800 x H600 Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1200 x H850mm Radiator 3 - Location ( Kitchen, Living Room ) - Kids Bedroom Room size ( Width & Length ) - W2350 x L2650 Ceiling height - 2330 mm Current Rad size - W900 x H600 mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1900 x H700 mm Radiator 4 - Location ( Kitchen, Living Room ) - Bathroom Room size ( Width & Length ) - W2700 x H1500mm Ceiling height - 2300mm Current Rad size - W600 x H700 Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W850 x H950mm Radiator 5 - Location ( Kitchen, Living Room ) - Bedroom Front Room size ( Width & Length ) - W3500 x L3050 mm Ceiling height - 2300mm Current Rad size - W800 x H600mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1750 x H800mm Radiator 5 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 6 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 7 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 8 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 9 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 10 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 11 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 12 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes