## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Tennyson House
Blackthorn Road
ILKLEY
LS29 8UT
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-37114
DATE OF REPORT: 12/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37114
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 5 Tennyson House
Blackthorn Road
ILKLEY
LS29 8UT
Carried Out On | 05/09/2023, 12/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for hot water tank

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37114
SECTION 3: Report
How water system type - Mains Cold water size - 15mm Cupboard Dimensions ( H x W x L ) - W920 x Depth 710 H2200 Current hot water storage cylinder size ( H x W x L ) - Heoght = 1100 Diameter = 550 Hot Water Controls ( Y / S Plan ) - Heating is electric, Works on duel immersion. Please take images of the cylinder data badge inc serial number - emailed

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37114
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37114
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37114
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37114
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37114
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes