## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Park Lane
Robinson House
Horden
SR8 4DF
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 23-37126
DATE OF REPORT: 04/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37126
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | 1 Park Lane
Robinson House
Horden
SR8 4DF
Carried Out On | 04/09/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No hot water to bungalows

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37126
SECTION 3: Report
RB-When arriving on site made my way to the plant room to find that house pump two was tripped on the panel. After trying to turn it off and back on couldn’t get it to change. Swapped the pumps over to number 1 being on and number two being off and pumps kicked back in aswell as pressurisation unit. Checked in with the tenant that called the issue in and waited till the water had started to heat back up, explained to the tenant that it will take a little while to come back on fully as it was the furthest property away from the boiler.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes