## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Cockshaw Court
Hexham
Northumberland
NE46 3HU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37275
DATE OF REPORT: 07/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37275
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Cockshaw Court
Hexham
Northumberland
NE46 3HU
Carried Out On | 07/09/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No heating - Tenants have hot water but no heat Advised by Jasmine Scheme Co ordinator to book emergency for Zenith

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37275
SECTION 3: Report
Went to site but the boilers were not in fault and there was no panel to see any other indication of component failure. When feeling flow pipework on boilers it was cold. Decided that there mustn’t of been a demand for heat, found a thermostat inside the property which was turned down to 10 degrees. I turned the thermostat back up and the boilers fired back on. Waited until the communal radiators were getting warm and then knocked on the tenant of number 5 and he said his radiators had started to come on also.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37275
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37275
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37275
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37275
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37275
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes