## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Vickerman Street
Halifax
HX1 3YD
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-37331
DATE OF REPORT: 10/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37331
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 24 Vickerman Street
Halifax
HX1 3YD
Carried Out On | 12/09/2023, 28/09/2023, 10/10/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37331
SECTION 3: Report
Images Required ( All images are Mandatory ) Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - Boxing in kitchen. See photo. Flue termination inc roof if vertical - Horizontal Condensate Termination - Disappears in wall. Prv Termination - Near front door. Fine. Radiators within the property inc valves - 8 rads, 15mm Valves, 10mm pipework. Fuse Board - Downstairs Hallway Cupboard Gas Meter - External Stop Tap - Under sink. Tested and shuts off. Boiler & Alarms Section 2nd Floor Smoke Alarm Location & Date - Landing Mar-31 1st Floor Smoke Alarm Location & Date - Landing Feb-31 Downstairs Smoke Alarm Location & Date - Hallway Feb-31 Heat Alarm Location & Date - Kitchen Feb-31 Co Alarm Location & Date - No present Boiler to be removed - Worcester Greenstar 12i System Mk3 Boiler Serial number - 5570-101-000151-7716130143 Job Type – boiler replacement - system boiler - S-Plan - Unvented Cylinder. Boiler location - Kitchen Is 22mm gas pipe visible at boiler - only 15mm visible. Flue type ( Vertical / Horizontal ) - Horizontal in boxing in kitchen No of Flue Extensions - 2 No of Flue 45 - 0 No of Flue 90's - 1 (Elbow from boiler) Scaffolding required - No Flue guard needed - No Standoff kit required - No Gas meter internal / external – External Condensate Requirements Is a Condensate pump required ( Yes / No ) - No Condensate current termination currently acceptable ( Yes / No ) - Disappears inside wall in boiler, cannot see termination. If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? 21.5mm Number of radiators at the property - 8 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 10mm pipework, plastic, 15mm Valves. Size of pipework at radiators - 10mm pipework, 15mm Valves. Number of bathrooms - 1 x Bathroom, 1 x Downstairs toilet. Electric shower - No Any other means of heating - Current Cooker Type – Gas Current Fire Type – None Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 4 15mm Pipe Required in meters - 1 Talon Trunking 15mm double required - 0 Talon Trunking 22mm double required - 0 Talon Trunking external corners & Size - 0 Talon Trunking internal corners & Size - 0 Talon Trunking End Caps & Size - 0 Talon Trunking connectors & Size - 0

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes