## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
35 Sycamore Drive
Halifax
HX3 8XD
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-37343
DATE OF REPORT: 12/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37343
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 35 Sycamore Drive
Halifax
HX3 8XD
Carried Out On | 12/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37343
SECTION 3: Report
Images Required ( All images are Mandatory ) Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - No Flue termination inc roof if vertical - Horizontal. Condensate Termination - Into sink waste. Prv Termination - On outside wall Radiators within the property inc valves - 15mm Fuse Board - In upper kitchen cupboard Gas Meter - Under cupboard left of kitchen sink Stop Tap - Only possible from outside. None inside house. Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - Landing Jan-30 Downstairs Smoke Alarm Location & Date - Hallway Jul-24 Heat Alarm Location & Date - None Co Alarm Location & Date - Boiler Cupboard in bathroom Sep-27 Boiler to be removed - potterton Promax Combi 28 HE Plus A Boiler Serial number - AWA141320392LC Job Type – full heating - Combi boiler Boiler location - Bathroom Cupboard. Is 22mm gas pipe visible at boiler - Yes Flue type ( Vertical / Horizontal ) - Horizontal No of Flue Extensions - 0 No of Flue 45 - 0 No of Flue 90's - 0 Scaffolding required - No Flue guard needed - No Standoff kit required - No Gas meter internal / external – Internal kitchen cupboard Condensate Requirements Is a Condensate pump required ( Yes / No ) - No Condensate current termination currently acceptable ( Yes / No ) - Yes (Into sink waste) If no what needs to be amended to bring it up to regs ? N/A Is the condensate currently through the wall in 19 or 32mm ? N/A Number of radiators at the property - 7 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm pipework. 15mm Valves. Size of pipework at radiators - 15mm Number of bathrooms - 1 Electric shower - No Any other means of heating - Current Cooker Type – Electric Current Fire Type – None Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 0 15mm Pipe Required in meters - 45 Talon Trunking 15mm double required - 0 Talon Trunking 22mm double required - 0 Talon Trunking external corners & Size - 0 Talon Trunking internal corners & Size - Boxed Trunking Hallway W190 x D50 x H2280 Boxed Trunking Kitchen W170 x D50 x L2300 Talon Trunking End Caps & Size - 0 Talon Trunking connectors & Size - 0 Radiator 1 - Location ( Kitchen, Living Room ) - Bathroom Room size ( Width & Length ) - W2300 x L2350 Ceiling height - 2350mm Current Rad size - W600 x H600 Current Rad type ( Single, Double, DPX ) DPX Max Rad size if radiator is to be increased - W800 x H1600 Radiator 2 - Location ( Kitchen, Living Room ) - Bedroom 1 Room size ( Width & Length ) - W3400 x L3650 Ceiling height - 2350mm Current Rad size - W1000 x H450 Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1800 x H600 Radiator 3 - Location ( Kitchen, Living Room ) - Bedroom 2 Room size ( Width & Length ) - W3050 x 3150 Ceiling height -2350mm Current Rad size - W900 x H450 Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1100 x H600 Radiator 4 - Location ( Kitchen, Living Room ) - Bedroom 3 Room size ( Width & Length ) - W2250 x L3300 Ceiling height - 2350mm Current Rad size - W600 x H450 Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1100 x H600 Radiator 5 - Location ( Kitchen, Living Room ) - Hallway Room size ( Width & Length ) - W2000 x L4500 Ceiling height - 2400 mm Current Rad size - W800 x H600 Current Rad type ( Single, Double, DPX ) Double Max Rad size if radiator is to be increased - W1500 x H1200 Radiator 5 - Location ( Kitchen, Living Room ) - Dining Room Room size ( Width & Length ) - W3600 x L3700 Ceiling height - 2400mm Current Rad size - W900 x H450 Current Rad type ( Single, Double, DPX ) DPX Max Rad size if radiator is to be increased - W1500 x H700 Radiator 6 - Location ( Kitchen, Living Room ) - Living room Room size ( Width & Length ) - W3500 x L3800 Ceiling height - 2400mm Current Rad size - W900 x H450 Current Rad type ( Single, Double, DPX ) D0X Max Rad size if radiator is to be increased - W1700 x H500 Radiator 7 - Location ( Kitchen, Living Room ) - Kitchen Room size ( Width & Length ) - W2400 x L2650 Ceiling height - 2400mm Current Rad size - W400 x H600 Current Rad type ( Single, Double, DPX ) DPX Max Rad size if radiator is to be increased - W800 x H900

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes