## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 St Matthew Road
Hexham
NE46 2BA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37415
DATE OF REPORT: 15/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37415
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 12 St Matthew Road
Hexham
NE46 2BA
Carried Out On | 15/09/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Fit a new stop tap in living room cupboard

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37415
SECTION 3: Report
PN 15/9/23 Unable to turn water off as old stop cock is ceased and external stop tap is full of water and soil arranged for Northumbrian water to come and clean out external stop on 5th of October between 12 and 6 pm give tenant office number to call when they have been on the 5th

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37415
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37415
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37415
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37415
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37415
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes